Rob,

I’ve attached Mike’s preliminary drawing. Please update. He especially wanted to know if we would be doing a hot water heater so we’d need 240 near it. Also if 240 was needed anywhere else. I specified the 4 ft lights instead of 8 foot because they are so much easier to store bulbs and then to change the them and because sometimes we might only want 1 of the 4 ft ones on. I also didn’t know quite what to do about the bathroom—like how large and if there was a shower…and where you wanted the plugs. I’d like some plugs outside the building too so we can do things like xmas lights.

Mike estimated he’d need 200 ft ½” EMT conduit and 80ft ¾” EMT conduit. Also 12 - 4 plug boxes and 24 - 2x4 duplex boxes. If you mark up these plans then I can get Jim to start on the drawings. I have the pencil diagram and I’ll put it on my desk in the Skate Shack on Friday. I brought it home tonight to make sure I had a copy… J

He tried to fix the light on the top of the spire and this is what he found…

Bottom left pot – Black is broken between box & top. Doesn’t seem to be shorted – voltage going up but not coming back.

That is about it on the Electrical side of things. Michael will be back next Wednesday night.